POLICIES and PROCEDURES

Responsible Unit		Building Services and Occupational Health & Safety

Policy Number		F-2

Date Last Updated		31 January 2006

Approving Sector Head	Vice-President, Operations and Director, Human Resources

Policy				FIRE ALARMS

1.	Policy

- The University will continually review fire protection and safety features to provide maximum protection to minimize the risk of injury or damage from fire to personnel and facilities.

- Fire alarm and fire protection equipment is to be used only in the case of fire or other emergency.  Tampering with fire protection equipment or falsely initiating a fire alarm is punishable under the Criminal Code of Canada.

- All fire alarms in university buildings are audible and many have a visual light feature.  These systems are activated by pulling a manual fire alarm station.  These pull stations are strategically placed throughout the buildings.  In addition to manual activation, fire alarm systems may be activated automatically by smoke and/or heat detectors, as well as sprinkler systems.

- Passenger or other elevators are never to be used to evacuate a building under alarm.

2.	Procedure

- If a fire is discovered:

- Sound the alarm by tripping a manual Pull station while exiting;

- Evacuate the building in an orderly manner, to a designated safe holding area away from the building and fire lanes;

- Do not use any elevator;

- Report the fire by calling 7-911 from a safe location;

- Give the building name and location of the fire;

- Report the fire to Safety & Security by calling 585-1103, if safe to do so;

- If corridors are smoke filled and exiting is dangerous, find safe shelter and contact Security by dialing 585-1103, advising of your location;

- If special assistance is required to evacuate the building due to physical limitations, find safe shelter and contact Safety & Security by dialing 585-1103, advising of your location and condition.

- If the alarm sounds:

  - Evacuate the building in an orderly manner, to a designated safe holding area away from the building and fire lanes;

  - Do not use any elevator;

  - If corridors are smoke filled and exiting is dangerous, find safe shelter and contact Safety & Security by dialing 585-1103, advising of your location;

  - If special assistance is required to evacuate the building due to physical limitations, find safe shelter and contact Safety & Security by dialing 585-1103, advising of your location and condition.

  - Report any pertinent information to Emergency Responders (Security, Fire, EMS).

- Following an evacuation, no-one shall enter the building until informed to do so by a member of Acadia University’s Safety & Security staff.

Note:  Silencing of the alarm bells does not indicate that it is safe to enter the building.